## Sheet1
Appendix A Major Refrgeration Components
GAAC
Component | Model/Serial # | Description | Installation Year
Brine Chiller | Henry Group FA-20163-210 C260677A-1 | 491 KW @ -12.2C SST -8.3*C Brine OFF 51.2 LPS (970 USGPM) | 2008
Evap. Condenser | BAC VC1-205/NMP U0661163101 | 421 KW @ 85 SPT 20*C W.B. | 2008
Secondary Coolant - Brine Pump | Armstrong 4280 664236 | 61.2 LPS (970 USGPM)@ 60 1.2 S.G. CaCl 2 25hp | 2024
Compressor 1 | Mycom N6WB 633224 | Mycom N6B 249 KW (70TR) 12.2*C SST/29.4*C STD 74.6 KW (100 HP ) | 2008
Compressor 2 | Mycom N4WB 431828 | N4B 172 KW (50TR) 12.2*C SST/29.4*C STD 74.6 KW (75 HP ) | 2008
SCA
Component | Model/Serial # | Description | Installation Year
Plate and frame Heat exchanger | Alpha laval TK20BWFD 3012088609 | M6MW-FD Duty: 180 MBH NH3: 220*F in/85*F Out 40% 180GPM E. GLY 40*F In/42.2* Out | 2019
Ammonia/BrineChiller C/W U-Turn surge drum | Alpha Laval U Type 527113 | 110 TR @ 9 DEgree F suction 22% 950 GPM CACL2 brine: 13 F outlet | 2019
Evap. Condenser | BAC VC1-165 U188221001-01-01 | VC1-165 Evap. Condensor | 2018
Secondary Coolant - Brine Pump | Armstrong/ Brock Compoton P-DF284TSH-S4 28190326015 S | 25HP | 2019
Compressor 1 | Mycom N2M11 2110293 | 60HP | 2019
Compressor 2 | Mycom N8WA 811328 | 60HP | 2001
HP Reciever | HT Industrial RA20054500 C390126A1 | NH3 HP Reciever | 2019