| Sunshine Coast Regional District | Request for Proposal |
| --- | --- |

Number: 2537021

for

Comprehensive Fire Flow Action Plan

Issue Date:

Aug 13th, 2025

Closing Date of

September 22nd, 2025 at 3:00 PM local time

SITE MEETING: A site meeting will NOT be held.

CONTACT: All enquiries related to this Request for Proposal, including any requests for information and clarification, are to be submitted by  September 8th 2025 and directed, in writing, to purchasing@scrd.ca, who will respond if time permits with a Q&A on BCBid by September 15th, 2025. Information obtained from any other source is not official and should not be relied upon. Enquiries and any responses providing new information will be recorded and posted to BC Bid or otherwise distributed to prospective Proponents.

DELIVERY OF PROPOSALS: Proposals must be in English and must be submitted using one of the submission methods below, and must either (1) include a copy of this cover page that is signed by an authorized representative of the Proponent or (2) be submitted by using the e-bidding key on BC Bid (if applicable), in accordance with the requirements set out in the RFP.

BC Bid Electronic Submission: Proponents may submit an electronic proposal using BC Bid. Proposals must be submitted in accordance with the BC Bid requirements and e-bidding key requirements (found at https://www.bcbid.gov.bc.ca/ ). Only pre-authorized electronic bidders registered on the BC Bid system can submit an electronic proposal using the BC Bid system. Use of an e-bidding key is effective as a signature.

Email Submission: Proponents may submit an electronic proposal by email.  Proposals submitted by email should be submitted to submissions@scrd.ca in accordance with the instructions at Section 1.3 of the General Terms and Conditions of this RFP.

OR

Hard Copy Submission: Proponents must submit ONE (1) hard-copies and ONE (1) electronic copy on a USB Drive of the proposal. Proposals submitted by hard copy must be submitted by hand or courier to:

Sunshine Coast Regional District

1975 Field Road

Sechelt, BC V7Z 0A8

Regardless of submission method, proposals must be received before Closing Time to be considered.

CONFIRMATION OF PROPONENT’S INTENT TO BE BOUND: The enclosed proposal is submitted in response to the referenced Request for Proposal, including any Addenda. By submitting a proposal the Proponent agrees to all of the terms and conditions of the RFP including the following: - The Proponent has carefully read and examined the entire Request for Proposal; - The Proponent has conducted such other investigations as were prudent and reasonable in preparing the proposal; and - The Proponent agrees to be bound by the statements and representations made in its proposal. PROPONENT NAME (please print): ________________________________________________________________________________ NAME OF AUTHORIZED REPRESENTATIVE (please print):____________________________________________________________ SIGNATURE OF AUTHORIZED REPRESENTATIVE: __________________________________________________________________ DATE: ________________________________________________________________________________________________________

TABLE OF CONTENTS

Page

1. GENERAL TERMS & CONDITIONS	3

2.	INTRODUCTION	9

2.1	Purpose	9

3.	SITUATION/OVERVIEW	9

3.1	Background	9

3.2	Project Objectives	10

3.3	Scope	10

4.	CONTRACT	17

4.1	General Contract Terms and Conditions	17

4.2	Service Requirements	17

5.	REQUIREMENTS	19

5.1	Capabilities	19

5.2	Approach	20

5.3	Sustainable Social Procurement	21

5.4	Price	21

6.	PROPOSAL FORMAT	22

7.	EVALUATION	22

7.1	Mandatory Criteria	23

7.2	Weighted Criteria	23

7.3	Price Evaluation	23

# 1. GENERAL TERMS & CONDITIONS

##### DEFINITIONS

Throughout this Request for Proposal, the following definitions apply:

- “Addenda” means all additional information regarding this RFP, including amendments to the RFP;

- “BC Bid” means the BC Bid website located at https://www.bcbid.gov.bc.ca/ ;

- “Closing Location” includes the location or email address for submissions indicated on the cover page of this RFP, or BC Bid, as applicable;

- “Closing Time” means the closing time and date for this RFP as set out on the cover page of this RFP;

- “Contract” means the written agreement resulting from the RFP executed by the Regional District and the successful Proponent;

- “Contractor” means the successful Proponent to the RFP who enters into a Contract with the Regional District;

- “Must”, or “mandatory” means a requirement that must be met in order for a proposal to receive consideration;

- “Proponent” means a person or entity (excluding its parent, subsidiaries or other affiliates) with the legal capacity to contract, that submits a proposal in response to the RFP;

- “Proposal” means a written response to the RFP that is submitted by a Proponent;

- “Request for Proposals” or “RFP” means the solicitation described in this document, including any attached or referenced appendices, schedules or exhibits and as may be modified in writing from time to time by the Regional District by Addenda; and

- “Should”, “may” or “weighted” means a requirement having a significant degree of importance to the objectives of the Request for Proposals.

- “SCRD”, “Regional District”, “Organization”, “we”, “us”, and“our” mean Sunshine Coast Regional District.

##### FORM OF PROPOSAL

This Proposal must be completed in its entirety. Failure to properly complete this Proposal form may cause your Proposal to be rejected. The signing officer must initial all corrections. The Sunshine Coast Regional District (Regional District) reserves the right to permit a correction, clarification or amendment to the Proposal or to correct minor errors and irregularities.

##### SUBMISSION OF PROPOSAL

Proposals must be submitted before Closing Time to the Closing Location using one of the submission methods set out on the cover page of this RFP. Proposals must not be sent by fax. The Proponent is solely responsible for ensuring that, regardless of submission method selected, the Regional District receives a complete Proposal, including all attachments or enclosures, before the Closing Time.

For electronic submissions (BC Bid or email), the following applies:

- The Proponent is solely responsible for ensuring that the complete electronic Proposal, including all attachments, is received before Closing Time;

- The Regional District limits the maximum size of any single email message to 20MB or less.

- Proponents should endeavour to submit emailed proposal submissions in a single message and avoid sending multiple email submissions for the same opportunity.  If an electronic submission exceeds the applicable maximum single message size, the Proponent may make multiple submissions (BC Bid upload or multiple emails for the same opportunity). Proponents should identify the order and number of emails making up the email proposal submission (e.g. “email 1 of 3, email 2 of 3…”);

- For email proposal submissions sent through multiple emails, the Regional District reserves the right to seek clarification or reject the proposal if the Regional District is unable to determine what documents constitute the complete proposal;

- Attachments must not be compressed or encrypted, must not contain viruses or malware, must not be corrupted, and must be able to be opened using commonly available software (e.g. Adobe Acrobat).  Proponents submitting by electronic submission are solely responsible for ensuring that any emails or attachments are not corrupted. The Regional District has no obligation to attempt to remedy any message or attachment that is received corrupted or cannot be viewed. The Regional District may reject proposals that are compressed encrypted, cannot be opened or that contain viruses or malware or corrupted attachments.

For BC Bid e-submissions only pre-authorized e-bidders registered on BC Bid can submit electronic bids on BC Bid. BC Bid is a subscription service and the registration process may take two business days to complete. If using this submission method, Proponents should refer to the BC Bid website or contact BC Bid Helpdesk at 250-387-7301 for more information.  An electronic proposal submitted on BC Bid must be submitted using the e-bidding key of an authorized representative of the Proponent.  Using the e-bidding key of a subcontractor is not acceptable.

For email proposal submissions, including any notices of amendment or withdrawal referred to in Section 1.6, the subject line of the email and any attachment should be clearly marked with the name of the Proponent, the RFP number and the project or program title.

The Regional District strongly encourages Proponents using electronic submissions to submit proposals with sufficient time to complete the upload and transmission of the complete proposal and any attachments before Closing Time.

The Proponent bears all risk associated with delivering its Proposal by electronic submission, including but not limited to delays in transmission between the Proponent’s computer and the Regional District Electronic Mail System or BC Bid.

While the Regional District may allow for email proposal submissions, the Proponent acknowledges that email transmissions are inherently unreliable. The Proponent is solely responsible for ensuring that its complete email proposal submission and all attachments have been received before Closing Time. If the Regional District Electronic Mail System rejects an email proposal submission for any reason, and the Proponent does not successfully resubmit its proposal by the same or other permitted submission method before Closing Time, the Proponent will not be permitted to resubmit its proposal after Closing Time.  The Proponent is strongly advised to contact the Regional District Contact immediately to arrange for an alternative submission method if:

(i) the Proponent’s email proposal submission is rejected by the Regional District Electronic Mail System; or

(ii) the Proponent does not receive an automated response email from the Regional District confirming receipt of each and every message transmitted, within a half hour of transmission by the Proponent.

An alternate submission method may be made available, at the Regional District’s discretion, immediately to arrange for an alternative submission method, and it is the Proponent’s sole responsibility for ensuring that a complete proposal (and all attachments) submitted using an approved alternate submission method is received by the Regional District before the Closing Time.  The Regional District makes no guarantee that an alternative submission method will be available or that the method available will ensure that a Proponent’s proposal is received before Closing Time.

##### SIGNATURE REQUIRED

Proposals must be properly signed by an officer, employee or agent having authority to bind the Proponent by that signature.

##### CLARIFICATIONS, ADDENDA & MINOR IRREGULARITIES

If any Proponent finds any inconsistencies, errors or omissions in the proposal documents or requires information, clarification of any provision contained therein, they shall submit their query in writing or email, addressed as follows:

Purchasing Division

Sunshine Coast Regional District

1975 Field Road, Sechelt, BC V7Z 0A8

purchasing@scrd.ca

Any interpretation of, addition to, deletions from or any corrections to the proposal documents will be issued as written addendum by the Regional District.

All Addenda will be posted on BC Bid.  It is the sole responsibility of the Proponent to check for Addenda on BC Bid.  Proponents are strongly encouraged to subscribe to BC Bid’s email notification service to receive notices of Addenda.

##### WITHDRAWAL OR REVISIONS

Proposals or revisions may be withdrawn by written notice provided such a notice of withdrawal is received prior to the closing date and time. Proposals withdrawn will be returned to the Proponent unopened. Revisions to the proposals already received shall be submitted only by electronic mail, or signed letter. The revision must state only the amount by which a figure is to be increased or decreased, or specific directions as to the exclusions or inclusion of particular words.

##### CONDUCT OF THE CONTRACT

Unless otherwise specified within this document, any queries regarding this Request for Proposal are to be directed to purchasing@scrd.ca. No other verbal or written instruction or information shall be relied upon by the Bidder, nor will they be binding upon the Regional District.

##### CONFLICT OF INTEREST/NO LOBBYING

- A Proponent may be disqualified if the Proponent’s current or past corporate or other interests, or those of a proposed subcontractor, may, in the Regional District’s opinion, give rise to an actual or potential conflict of interest in connection with the services described in the RFP. This includes, but is not limited to, involvement by a Proponent in the preparation of the RFP or a relationship with any employee, contractor or representative of the Regional District involved in preparation of the RFP, participating on the evaluation committee or in the administration of the Contract. If a Proponent is in doubt as to whether there might be a conflict of interest, the Proponent should consult with the Regional District Contact prior to submitting a proposal. By submitting a proposal, the Proponent represents that it is not aware of any circumstances that would give rise to a conflict of interest that is actual or potential, in respect of the RFP.

- A Proponent must not attempt to influence the outcome of the RFP process by engaging in lobbying activities. Any attempt by the Proponent to communicate, for this purpose directly or indirectly with any employee, contractor or representative of the Regional District, including members of the evaluation committee and any elected officials of the Regional District, or with the media, may result in disqualification of the Proponent.

##### CONTRACT

By submitting a proposal, the Proponent agrees that should its proposal be successful the Proponent will enter into a Contract with the Regional District on substantially the same terms and Conditions set out in www.scrd.ca/bid and such other terms and conditions to be finalized to the satisfaction of the Regional District, if applicable.

##### SUSTAINABLE PROCUREMENT

The Regional District adheres to its sustainable consideration factors.  Proposals will be considered not only on the total cost of services, but Proposals that addresses the environment and social factors.

##### INVOICING AND PAYMENT

Unless otherwise agreed, the Regional District payment terms are Net 30 days following receipt of services or approved invoices, whichever is later. Original invoices are to be forwarded to the accounts payable department of the Regional District. The purchase order number assigned by the Regional District must be stated on the invoice otherwise payment may be delayed.

##### PRICING, CURRENCY AND TAXES

Offered prices are to be attached as a price schedule in Canadian dollars with taxes stated separately when applicable.

##### IRREVOCABLE OFFER

This Proposal must be irrevocable for 90 days from the Proposal closing date and time.

##### TIME IS OF THE ESSENCE

Time shall be of the essence in this contract.

##### ASSIGNMENT

The Proponent will not, without written consent of the Regional District, assign or transfer this contract or any part thereof.

##### OWNERSHIP OF DOCUMENTS & FREEDOM OF INFORMATION

All documents submitted in response to this Request for Proposal shall become the property of the Regional District and as such will be subject to the disclosure provisions of the Freedom of Information and Protection of Privacy Act and any requirement for disclosure of all or a part of a Proposal under that Act.

The requirement for confidentiality shall not apply to any Proposal that is incorporated into a Contract for the Work. Further, the Regional District may disclose the top scoring proponent’s aggregate pricing to the Regional District Board at a public meeting, when making a recommendation for the award of the Contract.

For more information on the application of the Act, go to http://www.cio.gov.bc.ca/cio/priv_leg/index.page.

##### AWARD OF CONTRACT

The Purchasing Policy at the Regional District offers contracts to businesses through an open, fair and consistent competitive bidding process. This ensures that the Regional District will receive the best overall value for the goods and services it requires. The Regional District reserves the right to cancel, award all or part of the scope of work described in this document to a single Proponent or may split the award with multiple Proponents.

All awards are subject to Board approval that meets the needs as determined by the Board. The Regional District, in receipt of a submission from a Proponent, may in its sole discretion consider the Proponent to have accepted the terms and conditions herein, except those expressly excluded or changed by the Proponent in writing.

The RFP shall not be construed as an agreement to purchase goods or services. The lowest priced or any proposal will not necessarily be accepted. The RFP does not commit the Regional District in any way to award a contract and that no legal relationship or obligation regarding the procurement of any good or service will be created between Regional District and the proponent unless and until Regional District and the proponent execute a written agreement for the Deliverables

##### COST OF PROPOSAL

The Proponent acknowledges and agrees that the Regional District will not be responsible for any costs, expenses, losses, damage or liability incurred by the Proponent as a result of or arising out submitting a Proposal for the proposed contract or the Regional District’s acceptance or non-acceptance of their proposal. Further, except as expressly and specifically permitted herein, no Proponent shall have any claim for any compensation of any kind whatsoever, as a result of participating in this RFP, and by submitting a proposal each Proponent shall be deemed to have agreed that it has no claim.

##### PROPONENT’S RESPONSIBILITY

It is the Proponent’s responsibility to ensure that the terms of reference contained herein are fully understood and to obtain any further information required for this proposal call on its own initiative. The Regional District reserves the right to share, with all proponents, all questions and answers related to this bid call.

##### EVALUATIONS

Proposals will be evaluated in private, including proposals that were opened and read in public, if applicable. Proposals will be assessed in accordance with the evaluation criteria.

If only one Proposal is received, the Regional District reserves the right to open the Proposal in private or if the total bid price exceeds the estimated budget for the Contract, the Regional District may cancel and re-tender, accept, not accept and cancel or re-scope the Work seeking a better response, with or without any substantive changes being made to the solicitation documents. If more than one Proposal is received from the same Proponent, the last Proposal received, as determined by the Regional District, will be the only Proposal considered.

##### ACCEPTANCE OF TERMS

The submission of the Proposal constitutes the agreement of the Proponent that all of the terms and conditions of the RFP are accepted by the Proponent and incorporated in its Proposal, except those conditions and provisions which are expressly excluded and clearly stated as excluded by the Proponent’s proposal.

##### MANDATORY REQUIREMENTS

Proposals not clearly demonstrating that they meet the mandatory requirements will receive no further consideration during the evaluation process.

##### INSURANCE & WCB

The Proponent shall obtain and continuously hold for the term of the contract, insurance coverage with the Regional District Listed as “Additional Insured” the minimum limits of not less than those stated below:

- Commercial General Liability – not less than $2,000,000 per occurrence

- Motor Vehicle Insurance, including Bodily Injury and Property Damage in an amount no less than $2,000,000 per accident from the Insurance Corporation of British Columbia on any licensed motor vehicles of any kind used to carry out the Work.

- Error & Omissions Insurance – not less than $500,000 per occurrence

- A provision requiring the Insurer to give the Owners a minimum of 30 days' notice of cancellation or lapsing or any material change in the insurance policy;

The Proponent must comply with all applicable laws and bylaws within the Jurisdiction of the work. The Proponent must further comply with all conditions and safety regulations of the Workers’ Compensation Act of British Columbia and must be in good standing during the term of any contract entered into from this process.

##### COLLUSION

Except otherwise specified or as arising by reason of the provisions of these documents, no person, or corporation, other than the Proponent has or will have any interest or share in this proposal or in the proposal contract which may be completed in respect thereof. There is no collusion or arrangement between the Proponent and any other actual or prospective Proponent in connection with proposals submitted for this project and the Proponent has no knowledge of the context of other proposals and has no comparison of figures or agreement or arrangement, express or implied, with any other party in connection with the making of the proposal.

##### CONFLICT OF INTEREST

Proponents shall disclose in its Proposal any actual or potential conflict of interest and existing business relationship it may have with the Regional District, its elected or appointed officials or employees.

##### LIABILITY FOR ERRORS

While the Regional District has used considerable efforts to ensure an acute representation of information in these bid documents, the information contained is supplied solely as a guideline for Proponents. The information is not guaranteed or warranted to be accurate by the Regional District nor is it necessarily comprehensive or exhaustive.

##### TRADE AGREEMENTS

This RFP is covered by trade agreements between the Regional District and other jurisdictions, including the following:

- Canadian Free Trade Agreement; and

- New West Partnership Trade Agreement.

- Canada-European Union Comprehensive Economic and Trade Agreement

##### LAW

This contract and any resultant award shall be governed by and construed in accordance with the laws of the Province of British Columbia, which shall be deemed the proper law thereof.

##### REPRISAL CLAUSE

Tenders will not be accepted by the Regional District  from any person, corporation, or other legal entity (the “Party”) if the Party, or any officer or director of a corporate Party, is, or has been within a period of two years prior to the tender closing date, engaged either directly or indirectly through another corporation or legal entity in a legal proceeding initiated in any court against the Regional District in relation to any contract with, or works or services provided to, the Regional District; and any such Party is not eligible to submit a tender.

##### FORCE MAJEURE (ACT OF GOD)

Neither party shall be liable for any failure of or delay in the performance of this Agreement for the period that such failure or delay is due to causes beyond its reasonable control including but not limited to acts of God, war, strikes or labour disputes, embargoes, government orders or any other force majeure event. The Regional District may terminate the Contract by notice if the event lasts for longer than 30 days.

##### CONFIDENTIAL INFORMATION OF PROPONENT

A proponent should identify any information in its proposal or any accompanying documentation supplied in confidence for which confidentiality is to be maintained by Regional District. The confidentiality of such information will be maintained by Regional District, except the total proposed value, which must be publicly released for all proposals, or otherwise required by the Freedom of Information and Protection of Privacy Act (“FOIPPA”), law or by order of a court or tribunal. Proponents are advised that their proposals will, as necessary, be disclosed, on a confidential basis, to advisers retained by Regional District to advise or assist with the RFP process, including the evaluation of proposals. If a proponent has any questions about the collection and use of personal information pursuant to this RFP, questions are to be submitted to the RFP Contact.

##### DISPUTE RESOLUTION

All unresolved disputes arising out of or in connection with this Proposal or in respect of any contractual relationship associated therewith or derived therewith shall be referred to and finally resolved by arbitration as prescribed by Mediate BC services pursuant to its rules, unless otherwise mutually agreed between the parties.

##### DEBRIEFING

At the conclusion of the RFP process, all Proponents will be notified. Proponents may request a debriefing meeting with the Regional District.

# INTRODUCTION

## Purpose

The Sunshine Coast Regional District (SCRD) is seeking proposals from qualified consultants to complete a Comprehensive Fire Flow Action Plan (FFAP) for the water systems owned and operated by SCRD. The purpose of the FFAP is to assess existing fire flow demands and capabilities, identify deficiencies and areas of concern, and provide clear, prioritized recommendations for system improvements to ensure reliable and adequate fire protection across the service area.

The selected consultant will be expected to conduct a detailed analysis of the existing water system, current and future demand scenarios, and collaborate with relevant stakeholders, including fire departments and infrastructure & operations staff. The final deliverables will include both short-term and long-term strategies to address fire flow deficiencies, estimated costs for improvements, and a proposed implementation timeline that aligns with SCRD’s water servicing objectives, regulatory requirements and budgetary considerations.

# SITUATION/OVERVIEW

## Background

The SCRD provides potable water to its residents through the seven (7) water systems Chapman, Cove Cay, Eastbourne, Egmont, Langdale, North Pender Harbour and South Pender Harbour.

In 2023, the SCRD conducted a water system capacity analysis study. This entailed developing a WaterCAD based hydraulic water model study to assess the capacity of the entire water system based on both the 2021 population and projected growth in the 2046 horizon year. Field testing and SCADA data were used to validate the models. The analysis identified key fire flow deficiencies and recommended system improvements to meet future demands. In December 2024, the SCRD hosted a workshop to review the fire flow deficiencies identified in the capacity analysis report. During the session, potential solutions to address fire flow deficiencies were brainstormed strategically, including options like relocating reservoirs, adding Pressure Reducing Valve (PRV) stations, and more. Following this workshop SCRD undertook in-house water modeling to simulate the proposed solutions identified in the workshop, which constitutes Phase 1 of the FFAP.

Building on this foundation, additional water modeling is underway to evaluate fire flow capacity for the 2125 horizon year. The modeling will inform the Comprehensive Fire flow Action Plan and support strategic decisions on short- (1–10 years), medium-term (10–20 years), and long-term (20-100 years) infrastructure upgrades. The upgrades are aimed to improve fire protection primarily by adhering to the fire flow requirements outlined in Master Municipal Construction Document (MMCD) and Fire Underwriters Survey (FUS), accommodating population growth through the next century in six of our seven water systems.

Phase 2 of the FFAP is to produce a comprehensive, system wide plan while taking into account the findings of the Phase 1. The FFAP will align with long-term asset renewal strategies and support capital investment across SCRD’s water systems, informing projects and Development Cost Charge (DCC) updates, while ensuring that critical infrastructure keeps pace with population growth and service expectations.

The Eastbourne water system is not included in the scope of the Fire Flow Action Plan (FFAP). It is considered a small community water system, located in the eastern portion of Keats Island, providing water to primarily seasonal customers.

## Project Objectives

The objective of this project is to develop a comprehensive FFAP for all SCRD water systems, excluding the Eastbourne water system. This plan will identify current and future fire flow service deficiencies and propose actionable, prioritized infrastructure and operational improvements to address those needs over short (1–10 years), medium (10–20 years), and long-term (20–100 years) planning horizons.

The project will include a thorough review of existing data and studies, condition assessments, internal and external stakeholder engagement, system schematics development, and coordination with SCRD’s hydraulic modeling consultants. The final deliverables will provide the SCRD with a technically sound, financially informed, and strategically prioritized roadmap to enhance fire flow capacity, system resiliency, and alignment with community and regulatory expectations.

## Scope

### Project Initiation

Host an in-person kick-off meeting within two (2) weeks of contract award to verify project requirements, roles, time, schedule, submission of deliverables dates, etc.

### Budget

- The budget available for this project is $80,000.00.

### Background Review

- Obtain relevant background data and complete an inventory of available information.

- Review provided documents, including:

  - Past feasibility studies, reports, drawings, operational data, and document relevant information.

  - 2024 Water Supply and Distribution System Capacity Analysis report.

  - Fire Flow Action Plan Phase 1 documentation, including technical memorandums.

  - 2013 Comprehensive Regional Water Plan.

  - 2125 Water System Deficiencies

- Prepare an inventory of all relevant data, plans and information.

- Review connectivity and status of GIS network.

### Stakeholder Engagement

- Internal Stakeholder Engagement
Conduct meetings with relevant SCRD divisions, including Planning, GIS/Mapping, Utility Services - Operations, Budget and Grants, Asset Management, and Protective Services. These meetings will gather input on various project boundary conditions, operational constraints, known areas of concern, and policy alignment related to fire flow service levels.

- External Stakeholder Engagement
The successful proponent is expected to independently engage with all relevant external stakeholders and provide option for SCRD to attend. At a minimum, this includes:

  - One (1) in-person engagement meeting with the shíshálh Nation Government District (sNGD) to review and validate current and projected fire flow service levels and community-specific requirements.

  - One (1) in-person engagement meeting with the District of Sechelt (DoS) planning and engineering staff to confirm fire flow standards and address specific local requirements.

  - Additional relevant stakeholders identified in collaboration with SCRD during the project initiatioan.

- Coordination with SCRD Hydraulic Modeling Consultants

Conduct an initial technical start-up collaboration meeting with the external hydraulic modeling consultants engaged by SCRD. This initiation meeting, attended by both the Consultant and SCRD staff, will establish lines of communication and confirm alignment of modeling objectives, assumptions, boundary conditions, and known system constraints relevant to fire flow analysis. Ongoing coordination (via email, virtual meetings, or other means) with the modeling team shall continue as needed throughout the project as required to review multiple water modeling scenarios and support development of the fire flow action plan.

- Meeting Protocols
The Consultant shall provide an agenda at least one (1) business day prior to each meeting and submit concise meeting minutes to all parties including the SCRD within two (2) days after each meeting.

### Comprehensive Fire Flow Action Plan

- The Comprehensive Fire Flow Action Plan will require hosting of weekly virtual progress meetings, and in-person 4-hour workshop meetings every three weeks for the duration of the project.

- Water System Process Diagrams
The Contractor will prepare a simplified water system process diagram, illustrating how water is collected, treated, stored, distributed, and processed for each of the six water delivery systems:

- Langdale (may be integrated in Chapman system within the next decade)

- Chapman

- North Pender Harbour

- South Pender Harbour

- Egmont

- Cove Cay

Each simplified diagram will provide a high-level representation of key system components and flow parameters, such as:

- Water sources

- Treatment facilities

- Storage reservoirs

- Pump stations

- Pressure zones

- PRVs

- Transmission and distribution mains

- Hydraulic grade lines

- Flow rates

- Direction of flows.

- Condition Assessment

- Review the SCRD Asset Management Department’s Water Infrastructure Condition Assessment Tracking List. Use this information to inform FFAP and provide a summary memo outlining the condition assessments findings, and their impact.

- Complete a desktop condition assessment of existing infrastructure for remaining lifespan and expected replacement schedule. The infrastructure includes:

- Water supply/license

- Water treatment plants

- Water storage

- Pump stations

- Pressure Reducing Valve (PRV) stations

- Distribution network

- Evaluation Criteria

Establish a set of evaluation criteria to determine which improvements are necessary to meet the future demand. These criteria will help guide the assessment of the model and are to be documented in the tech memo. These criteria may include, but are not limited to, the following:

- Maximum velocities in pipes

- Minimum system pressure to maintain

- Maximum static pressure

- Minimum fire flows (as per MMCD and FUS requirements unless otherwise approved by the local government and fire department)

- Reservoir storage

- Fire hydrant spacing

- Water quality (chlorine concentrations)

- Pump station evaluation criteria (backup pumps, standby generator, etc.)

- System vulnerability

- Operational requirements

- Conditions identified in meeting with relevant stakeholders

- System Analysis and Improvements

In collaboration with the SCRD and SCRD’s hydraulic modeling team/consultant, the consultant will develop up to 30 new short/long term fire flow system improvement solutions requiring modeling validation.

Please note the process of verifying improvements through modeling is NOT included within this scope. Modeling support will be provided by SCRD or its designated hydraulic modeling consultant.

- Short-Term System Improvements (1-10 years)

- Identify short-term (2036) fire flow deficiencies, based on review of available documents and hydraulic model results.

- Develop and recommend actionable, prioritized solutions to address deficiencies.

- If required, request additional modeling from the SCRD designated water modeling consultant to confirm feasibility of recommendations using the hydraulic model (WaterCAD). Provide Technical Memorandum 1 Short-term System Improvements, including infrastructure concepts, phasing, and preliminary costing, for SCRD review.

- Medium-Term System Improvements (10-20 years)

- Identify projected medium-term (2046) fire flow deficiencies based on model results and planning assumptions.

- Recommend mid-term infrastructure and operational strategies to address deficiencies

- If required, request additional modeling from the SCRD’s designated water modeling consultant to confirm feasibility of recommendations using the hydraulic model (WaterCAD). Provide Technical Memorandum 2 medium-term System Improvements outlining upgrade options, potential triggers, and integration with asset renewal planning.

- Long-Term System Improvements (20-100 years)

- Assess long-range (2125) fire flow and capacity deficiencies based on population projections.

- Identify conceptual strategies, policies, or infrastructure considerations to guide future planning.

- If required, request additional modeling from the SCRD’s designated water modeling consultant to confirm feasibility of recommendations using the hydraulic model (WaterCAD). Provide Technical Memorandum 3 Long-Term System Improvements with advisory-level guidance to inform future master planning and growth accommodation.

- Overall System Improvements

- Compare short-term, medium-term, and long-term identified deficiencies

- Provide a list of 20 prioritized recommended solutions for both short/long term, the recommendations prioritized based on impact-to-cost ratio to improve the fire flow

- Request verification of recommendations using the hydraulic model (WaterCAD) from the SCRD’s designated water modeling consultant.

- Provide Technical Memorandum 4 Overall System Improvements for SCRD review.

- The recommendations should consider:

- Outstanding upgrade recommendations from the 2013 Comprehensive Regional Water Plan, previous feasibility studies and reports, etc.

- Existing water sources, and potential new water sources known and unknown.

- Asbestos Cement (AC) pipe renewals and other relevant considerations.

- Alternate solutions, such as establishing new pressure zones to ensure static pressure in the system meets the evaluation criteria, new reservoirs at optimal locations, connecting different water systems to improve water quality and system redundancy, and other value-added solutions.

- Create a Fire Flow Action List to summarize the prioritized recommendations in the excel spreadsheet format.

- Provide Class D cost estimates for each upgrade in the Fire Flow Action List.

- Outline a timeline for the proposed upgrades in the List.

- Create Fire Flow Action Maps for each water system, with the location, proposed works, and improvement to fire flow clearly labeled.

- Risk Assessment

- Review relevant legislative and regulatory requirements (bylaws).

- Climate change related risks to water infrastructure and fire flow reliability.

- Organizational capacity and operational risks (e.g., maintenance, emergency response).

- System resiliency and redundancy risks.

- Financial risks associated with implementing the Action Plan.

- Identify any other risks and proposed mitigation measures or strategies.

- SCRD Bylaw and Policy Updates - identify and recommend updates to SCRD bylaws and policies to align with the FFAP. The scope may include:

- Reviewing Subdivision and Servicing, DCC, Water Rates and Regulation Bylaws and any other relevant SCRD Bylaws and providing recommendations.

- Introducing policy amendments for SCRD fire flow design standards.

- Establishing procedures for ongoing infrastructure assessment and upgrade prioritization.

- Financial Strategy

Support the SCRD in developing a high-level financial strategy to fund the recommended improvements over the 2036 and 2046 planning horizon, including but are not limited to:

- Identify potential funding sources (e.g., grants, reserves, DCCs)

- Recommendations on Development Cost Charges (DCC) related to growth-driven improvements

- Discuss potential impacts on utility rates and overall affordability

### Deliverables:

- Technical Memorandum – SCRD Water System Evaluation Criteria

Establish hydraulic evaluation criteria of SCRD water systems

- Technical Memorandum 1 – Short-Term System Analysis and Improvements

Identifies and summarizes fire flow issues requiring action by 2036 and presents corresponding recommended solutions.

- Technical Memorandum 2 – Medium-Term System Analysis and Improvements

Identifies and summarizes fire flow issues requiring long-term action through 2046, along with proposed solutions.

- Technical Memorandum 3 – Long-Term System Analysis and Improvements

Identifies and summarizes fire flow issues requiring long-term action through 2125, along with proposed solutions.

- Technical Memorandum 4 – Overall System Analysis and Improvements

Provide a list of 20 prioritized recommended solutions (covering both 2036 and 2046 planning horizons) to inform hydraulic modeling.

- Comprehensive Fire Flow Action Plan Report

Synthesizes findings from all technical memorandums into a single, comprehensive plan to guide fire flow improvements across SCRD water systems.

### Reporting

- Draft version of all technical memorandums and comprehensive fire flow action plan should be submitted to SCRD for review.

- All submissions shall allow a minimum of five (5) business days for SCRD review and comment prior to any review meetings

- All comments should be addressed and incorporated into the final versions of the technical memorandums and the final comprehensive fire flow action plan.

- Accommodate up to two rounds of SCRD review and revisions for the Comprehensive Fire Flow Action Plan Report.

- Any associated maps, drawings, GIS shape files and other technical appendices shall be submitted alongside the corresponding report or memorandum.

- Participate in one (1) in-person presentation to the SCRD Board, including preparation of supporting presentation material in SCRD required format.

### Optional work

- The SCRD may request the Consultant provide additional services, including:

- Additional technical analyses comparable to those already in scope of this project

- Additional plan development comparable to that already in scope of this project

- Grant application

Please note that this scope of work does not include any water modeling. Should any water modeling be required, it will be communicated to SCRD for coordination and completion. Additionally, any innovative approaches or methodologies will be considered of additional value when reviewing the proposals.

# CONTRACT

## General Contract Terms and Conditions

Proponents should review carefully the terms and conditions set out in the General Service Contract, including the Schedules. The General Contract terms can be found at: Information about our General Service Terms and Conditions can be found at www.scrd.ca/bid.

## Service Requirements

The Comprehensive Fire Flow Action Plan (FFAP) project must be completed by December 19, 2025. The Consultant will be responsible for providing the following deliverables and services:

### Project Schedule

A detailed timeline in the form of a Gantt chart (or similar format), identifying all key milestones and deliverable deadlines.

### Technical Memoranda

Preparation and submission of the following technical memoranda for SCRD review and approval:

- Evaluation Criteria Technical Memorandum

- Technical Memorandum 1 – Short-Term System Analysis and Improvements

- Technical Memorandum 2 – Medium-Term System Analysis and Improvements

- Technical Memorandum 3 – Long-Term System Analysis and Improvements

- Technical Memorandum 4 – Overall System Analysis and Improvements

### Comprehensive Fire Flow Action Plan

- Submission of a draft FFAP for SCRD review, including facilitation of review sessions and incorporation of feedback.

- Submission of a final FFAP, which will include:

- Summary of existing water system conditions

- Simplified water system schematics

- Prioritized Fire Flow Action List, including Class D cost estimates and implementation timelines (in spreadsheet format)

- Visualized Fire Flow Action Map or supporting graphics

- Risk assessment (climate, operational, regulatory, financial, and capacity-related risks)

- High-level financial strategy for implementation

### Board Presentation

Conduct one (1) in-person presentation to the SCRD Board, including preparation of presentation materials in SCRD’s required PowerPoint format.

### Project Data Package

Provide a comprehensive data package including:

- Final reports

- GIS shapefiles

- Supporting technical appendices

- All associated drawings and data files

### Professional Standards

All final reports and technical memoranda must be signed and sealed by a Professional Engineer (P.Eng.) registered in British Columbia, in accordance with the standards set by Engineers and Geoscientists British Columbia (EGBC). The Proponent must be registered with EGBC and hold a valid Permit to Practice number.

# REQUIREMENTS

In order for a proposal to be considered, a Proponent must clearly demonstrate that they meet the mandatory requirements set out in Section 7.1 (Mandatory Criteria) of the RFP.

This section includes “Response Guidelines” which are intended to assist Proponents in the development of their proposals in respect of the weighted criteria set out in Section 7.2 of the RFP. The Response Guidelines are not intended to be comprehensive. Proponents should use their own judgement in determining what information to provide to demonstrate that the Proponent meets or exceeds the Regional District’s expectations.

Please address each of the following items in your proposal in the order presented.

## Capabilities

Proponent should provide CVs for their project team and their associated roles. The team must include:

- A Professional Engineer (P.Eng.) Project Lead with demonstrated experience in holistic, system-wide utility planning, including asset management principles, lifecycle costing, and risk-based prioritization of capital projects.

- Experience in the detailed design of municipal water supply infrastructure and hydraulic modeling.

- Experience in water system operations or making operational recommendations for municipal water supply systems of similar size and scale.

### Team Member Substitution

No substitution or reassignment of key team members identified in the proposal will be permitted without prior written approval from the SCRD, except in the case of extraordinary circumstances (e.g., illness, resignation, or other unforeseen events). In such cases, any proposed replacement must have equivalent or greater qualifications and experience, and be subject to SCRD’s review and approval

### Relevant Experience

The Proponent and any subcontractors included in its proposal shall have a minimum of 5 years within the last 10 years providing services of a similar scope and complexity.

Similar scope and complexity are defined as the following:

- Experience in civil infrastructure design, and cost estimates.

- Familiar with operations of multiple source water systems with different seasonal operating considerations.

- Delivering municipal fire flow planning, and infrastructure upgrade prioritization.

- Incorporating operations, maintenance, and asset lifecycle considerations into water system planning.

- Experience drafting and updating Bylaws.

- Providing clear, technically accurate documentation, including Class D cost estimates, risk assessments, and financial strategies.

- Preparing infrastructure drawings in AutoCAD Civil 3D and/or GIS formats suitable for capital planning and public presentation.

### References

Proponents need to provide a minimum of 3 references (i.e. names and contact information) of individuals who can verify the quality of work provided specific to the relevant experience of the Proponent and of any subcontractors named in the proposal. References from the Proponent’s own organization or from named subcontractors are not acceptable.

The Regional District reserves the right to seek additional references independent of those supplied by the Proponent, including internal references in relation to the Proponent’s and any subcontractor’s performance under any past or current contracts with the Regional District or other verifications as are deemed necessary by it to verify the information contained in the proposal and to confirm the suitability of the Proponent.

### Quality Standards

The successful Consultant and any sub-consultants shall develop and implement an effective, documented Quality Management System (QMS) for the project and will be fully responsible for the quality control and quality assurance (QC/QA) of all work performed by their personnel. This includes compliance with the Engineers and Geoscientists British Columbia (EGBC) Quality Management Guidelines, including but not limited to former Bylaw 14(b), and all requirements under the Professional Governance Act

## Approach

The Proponent shall outline a detailed methodology and work plan to demonstrate how it will fulfill the requirements of the Comprehensive Fire Flow Action Plan (FFAP) project. The approach must align with the scope outlined in this RFP and address the full lifecycle of project delivery, from initiation to final handover.

The response should demonstrate the Proponent’s understanding of the project objectives, local context, technical requirements, stakeholder environment, and deliverable expectations

### Project Management and Coordination

The Proponent must describe how it will manage the project, including:

- Project initiation and onboarding activities

- Coordination with SCRD staff and consultants

- Management of internal resources and subconsultants

- Progress monitoring and reporting

- Risk and issue management

### Value-Added Services and Innovation

Proponents are encouraged to describe any value-added services or innovative approaches that could enhance service delivery, improve outcomes, or reduce costs. This may include:

- Use of digital tools for engagement, reporting, or data visualization

- Alternative schematic or mapping techniques

## Sustainable Social Procurement

A factor in the Regional District evaluation process is sustainable social procurement and the evaluation of proposals will take this into consideration.

As part of any submission the Proponent is encouraged to identify how they may contribute to the following key social, employment and economical goals, but not limited to the following:

Contribute to a stronger local economy by:

- promoting a Living Wage

- Using fair employment practices;

- Increase training and apprenticeship opportunities;

Local expertise knowledge by:

  - Being locally owned;

  - Utilization of local subcontractors;

Environmental Cost of Ownership;

  - Energy efficient products;

  - Minimal or environmental friendly use of packing materials; and

  - Reducing hazardous materials (toxics and ozone depleting substances).

## Price

Proponents need to submit a fee proposal that sets out the separate costs of each portion of the project described as well as an all-inclusive cost for all the projects; the proposal should include a breakdown of the fix prices including time, travel, hourly billable rates and material costs.

Prices quoted will be deemed to be:

- in Canadian dollars;

- inclusive of duty, tariffs, FOB destination, and delivery charges where applicable; and

- exclusive of any applicable taxes.

Bidder’s will provide a list of all major suppliers and manufacturers involved in the contract, including their country of origin and whether they are based in the United States.

# PROPOSAL FORMAT

Proponents should ensure that they fully respond to all requirements in the RFP in order to receive full consideration during evaluation.

The following format, sequence, and instructions should be followed in order to provide consistency in Proponent response and ensure each proposal receives full consideration. All pages should be consecutively numbered.

- Signed cover page (see section 7.1 Mandatory Criteria).

- Table of contents including page numbers.

- A short (one or two page) summary of the key features of the proposal.

- The body of the proposal, including pricing, i.e. the “Proponent Response”.

- Appendices, appropriately tabbed and referenced.

- Identification of Proponent (legal name)

- Identification of Proponent contact (if different from the authorized representative) and contact information.

# EVALUATION

Evaluation of proposals will be by a committee formed by the Regional District and may include other employees and contractors.

The Regional District’s intent is to enter into a Contract with the Proponent who has met all mandatory criteria and minimum scores (if any) and who has the highest overall ranking.

Proposals will be assessed in accordance with the entire requirement of the RFP, including mandatory and weighted criteria.

The Regional District reserves the right to be the sole judge of a qualified proponent.

The Evaluation Committee may, at its discretion, request clarifications or additional information from a Proponent with respect to any Proposal, and the Evaluation Committee may make such requests to only selected Proponents. The Evaluation Committee may consider such clarification or additional information in evaluating a Proposal.

## Mandatory Criteria

Proposals not clearly demonstrating that they meet the following mandatory criteria will be excluded from further consideration during the evaluation process.

Mandatory Criteria

The proposal must be received at the Closing Location before the Closing Time.

The proposal must be in English.

The proposal must be submitted using one of the submission methods set out on the cover page of the RFP

The proposal must either (1) include a copy of the Confirmation of Proponent’s Intent to be Bound that is signed by an authorized representative of the Proponent, this is also required for email submissions or (2) be submitted by using the e-bidding key on BC Bid (if applicable), in accordance with the requirements set out in the RFP

## Weighted Criteria

Proposals meeting all of the mandatory criteria will be further assessed against the following weighted criteria.

| Weighted Criteria | Weight (%) |
| --- | --- |
| Experience & Capability | 25 |
| Approach | 25 |
| ### Project Schedule | 15 |
| Value Add | 5 |
| Sustainable Social Procurement | 5 |
| Price | 25 |
| TOTAL | 100 |

## Price Evaluation

The lowest priced Proposal will receive full points for pricing. All other prices will be scored using the following formula: lowest priced proposal/price of this proposal* total points available for price.