Schedule of Prices

The Bid Price for the Work is comprised of the following components and the Proponent’s overhead and profit are included in each component the entire cost. Proponents are to provide all-inclusive rates for each site separately.

| # | Description | Amount |
| --- | --- | --- |
| 1 | West trestle: Six (6) Columns rehabilitation. Cleaning, surface reparation and repairs of the column piers. Grouting between columns and base plates as required. Steel columns to be cleaned and recoated as required, on full height of columns. | $ |
| 2 | West trestle: Railing rehabilitation. Replace and repair bent railing sections. Clean and paint railing sections affected by rust. Correct end of rails. | $ |
| 3 | West trestle: Addition of sacrificial anodes. | $ |
| 4 | West trestle: Environmental protection, site access, site clean-up | $ |
| Total Tender Price (excluding GST) |  |  |
| GST (5%) |  |  |
| Total Tender Price (including GST) |  |  |
| 5 | East trestle: Four (4) Columns rehabilitation. Cleaning, surface reparation and repairs of the column piers. Grouting between columns and base plates as required. Steel columns to be cleaned and recoated as required, on full height of columns. | $ |
| 6 | East trestle: Railing rehabilitation. Replace and repair bent or missing railing sections. Clean and paint railing sections affected by rust. Correct end of rails. | $ |
| 7 | East trestle: Addition of sacrificial anodes. | $ |
| 8 | East trestle: Environmental protection, site access, site clean up | $ |
|  | Total Tender Price (excluding GST) | $ |
|  | GST (5%) | $ |
|  | Total Tender Price (including GST) | $ |
| Separate Pricing |  |  |
|  | Separate Pricing: West trestle: Geotechnical assessment and report by a Professional Geotechnical Engineer licensed in BC conducted for the slope stability and trestle support condition, at the West trestle location. Includes any excavation or ground disturbance required for an exhaustive assessment and recommendations for long term stability and durability. | $ |

Experience of Superintendent

|  | Exposed Chapman Intake Line Trestle Rehabilitation |
| --- | --- |
|  | (TITLE OF PROJECT) |
| Name:. Experience:. |
| Dates:. Project Name:. Responsibility:. References:. |
| Dates:. Project Name:. Responsibility:. References:. |

Comparable Work Experience (including subcontractors)

|  |  | Exposed Chapman Intake Line Trestle Rehabilitation |  |
| --- | --- | --- | --- |
|  |  | (TITLE OF PROJECT) |  |
|  |  | Indicate the work experience of your organization and the proposed subcontractors, this should include a summary of the quality of the work, schedule, any changes to the work and any force account work |  |
| PROJECT | WORK COMPLETED BY: | SUMMARY OF THE WORK: |  |

References

|  |  | Exposed Chapman Intake Line Trestle Rehabilitation |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | (TITLE OF PROJET) |  |  |  |
|  |  | Indicate a minimum of 2 comparable work experience projects of a similar nature |  |  |  |
| PROJECT | OWNER / CONTACT NAME | PHONE NUMBER | WORK DESCRIPTION | VALUE ($) |  |

List of Subcontractors

|  | Water Main Rehabilitation |  |  |
| --- | --- | --- | --- |
|  | (TITLE OF PROJECT) |  |  |
|  | Pursuant to paragraph 3.8 of the General Conditions, the following are the Subcontractors we propose to use for Divisions or Sections of Work listed hereunder: |  |  |
| TENDER ITEM | TRADE | SUBCONTRACTOR NAME | PHONE NUMBER |

Preliminary Construction Schedule

|  | Water Main Rehabilitation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | (TITLE OF PROJECT) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Indicate the Construction Schedule utilizing a bar chart with all major item description in time |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Activity |  | Preliminary Construction Schedule (in weeks) |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |  |